## Instructions
INSTRUCTIONS
Disclaimer: This archived file was intended for internal review but has been posted due to interest in historical reviews. This file is no longer used to quality assure the EPA CPM calculator. Quality assurance spreadsheets have been updated accordingly and are provided on the internal verification page of the EPA CPM website.
The point of this QA sheet is to replicate the output results for the CPM (Counts Per Minute) calculator for both single and multiple radionuclide selection. Below are instructions for understanding the ins and outs of this spreadsheet.
Tab Descriptions
The 'Single Radionuclides' tab replicates the CPM calculation when individual radionuclides are selected.
The 'Multiple Radionuclides' tab replicates the CPM calculation when two radionuclides are selected.
Relevant Cell Descriptions
These cells represent the target activity concentration (TAC) of each parent and its progeny.
These cells represent the counts per minute (CPM) of each parent and its progeny.
These cells represent the field activity concentration (FAC) of each parent and its progeny.
These cells represent the relative fraction (f1)of each parent and its progeny.
These cells represent the final gross detector response (GDR) in cpm of the entire chain (single) or chains (multiple).

## Single Radionuclides
Ac-227 | Worker PRG (pCi/g) TR= 1E-04 | FAC | Chain | FC for SE | UAF for Peak | CF (cpm/pCi) for 2x2, soil, infinite depth, and 1cm height | pCi parent only TAC | pCi of Parent Only Include Progeny TAC | pCi of chain members at the SE TAC using FC | pCi of chain members at the Peak TAC using UAF | CPM of chain members at the parent only TAC using FC | CPM of chain members at the Parent Only Include Progeny TAC | CPM of chain members at the SE TAC using FC | CPM of chain members at the Peak TAC using UAF | CPM of FAC Parent Only Include Progeny | f1 of chain members at the parent only TAC using FC | f1 of chain members at the Parent Only Include Progeny TAC using FC | f1 of chain members at the SE TAC using FC | f1 of chain members at the Peak TAC using UAF | GDR for Parent Only CPM | GDR for Parent Only Include Progeny CPM | GDR for SE CPM | GDR for Peak CPM
Parent Only | 1030 | 100 | Ac-227 | 1 | 0.2713 | 0.4853 | 1030 | 1030 | 10.5 | 4.1238 | 499.859 | 499.859 | 5.0957 | 2.0013 | 48.53 | 1 | 0.00012777 | 0.00020209 | 0.00047227 | 499.859 | 355644.374 | 2292.2207 | 385.2264
Peak | 15.2 | 100 | Th-227 | 0.9862 | 0.1644 | 742.5 |  | 1030 | 10.3551 | 2.4989 |  | 764775 | 7688.6618 | 1855.4184 | 74250 |  | 0.19549 | 0.30493 | 0.43786
SE | 10.5 | 100 | Fr-223 | 0.0138 | 0.003745 | 258.8 |  | 1030 | 0.1449 | 0.056924 |  | 266564 | 37.5001 | 14.7319 | 25880 |  | 0.068139 | 0.0014872 | 0.0034766
|  | 100 | Ra-223 | 1 | 0.09351 | 855.5 |  | 1030 | 10.5 | 1.4214 |  | 881165 | 8982.75 | 1215.9666 | 85550 |  | 0.22524 | 0.35625 | 0.28695
|  | 100 | At-219 | 8.28e-07 | 2.247e-07 | 0 |  | 1030 | 8.694e-06 | 3.4154e-06 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
|  | 100 | Rn-219 | 1 | 0.09351 | 319.5 |  | 1030 | 10.5 | 1.4214 |  | 329085 | 3354.7501 | 454.122 | 31950 |  | 0.08412 | 0.13305 | 0.10717
|  | 100 | Bi-215 | 8.0316e-07 | 2.179e-07 | 1105 |  | 1030 | 8.4332e-06 | 3.3121e-06 |  | 1138150 | 0.0093187 | 0.0036598 | 110500 |  | 0.29093 | 3.6958e-07 | 8.6368e-07
|  | 100 | Po-215 | 1 | 0.09351 | 0.7945 |  | 1030 | 10.5 | 1.4214 |  | 818.335 | 8.3422 | 1.1293 | 79.45 |  | 0.00020918 | 0.00033085 | 0.00026649
|  | 100 | Pb-211 | 1 | 0.09334 | 233.7 |  | 1030 | 10.5 | 1.4188 |  | 240711 | 2453.85 | 331.5661 | 23370 |  | 0.06153 | 0.097319 | 0.078246
|  | 100 | Bi-211 | 1 | 0.09333 | 248.9 |  | 1030 | 10.5 | 1.4186 |  | 256367 | 2613.45 | 353.0935 | 24890 |  | 0.065532 | 0.10365 | 0.083326
|  | 100 | Po-211 | 0.00276 | 0.0002576 | 26.35 |  | 1030 | 0.02898 | 0.0039155 |  | 27140.5 | 0.76362 | 0.10317 | 2635 |  | 0.0069376 | 3.0285e-05 | 2.4348e-05
|  | 100 | Tl-207 | 0.99724 | 0.09305 | 6.614 |  | 1030 | 10.471 | 1.4144 |  | 6812.42 | 69.2554 | 9.3546 | 661.4 |  | 0.0017414 | 0.0027467 | 0.0022076
Ra-226 | PRG | 100 | Ra-226 | 1 | 0.112 | 50.7 | 305 | 305 | 2.03 | 0.23296 | 15463.5 | 15463.5 | 102.921 | 11.8111 | 5070 | 1 | 0.0039417 | 0.010281 | 0.010281 | 15463.5 | 326921.1146 | 834.2687 | 95.737
Parent Only | 305 | 100 | Rn-222 | 1 | 0.112 | 1.598 |  | 305 | 2.03 | 0.23296 |  | 487.39 | 3.2439 | 0.37227 | 159.8 |  | 0.00012424 | 0.00032403 | 0.00032404
Peak | 2.08 | 100 | Po-218 | 1 | 0.112 | 0 |  | 305 | 2.03 | 0.23296 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
SE | 2.03 | 100 | At-218 | 0.0002 | 2.24e-05 | 0 |  | 305 | 0.000406 | 4.6592e-05 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
|  | 100 | Rn-218 | 2e-07 | 2.24e-08 | 2.85 |  | 305 | 4.06e-07 | 4.6592e-08 |  | 869.25 | 1.1571e-06 | 1.3279e-07 | 285 |  | 0.00022157 | 1.1558e-10 | 1.1558e-10
|  | 100 | Pb-214 | 1 | 0.112 | 1352 |  | 305 | 2.03 | 0.23296 |  | 412360 | 2744.56 | 314.9619 | 135200 |  | 0.10511 | 0.27415 | 0.27416
|  | 100 | Bi-214 | 1 | 0.112 | 3520 |  | 305 | 2.03 | 0.23296 |  | 1073600 | 7145.6 | 820.0192 | 352000 |  | 0.27366 | 0.71376 | 0.71378
|  | 100 | Po-214 | 1 | 0.112 | 0.2465 |  | 305 | 2.03 | 0.23296 |  | 75.1825 | 0.50039 | 0.057425 | 24.65 |  | 1.9164e-05 | 4.9983e-05 | 4.9985e-05
|  | 100 | Tl-210 | 0.00021 | 2.352e-05 | 7270 |  | 305 | 0.0004263 | 4.8922e-05 |  | 2217350 | 3.0992 | 0.35566 | 727000 |  | 0.56521 | 0.00030957 | 0.00030958
|  | 100 | Pb-210 | 1 | 0.1094 | 5.536 |  | 305 | 2.03 | 0.22755 |  | 1688.48 | 11.2381 | 1.2597 | 553.6 |  | 0.0004304 | 0.0011225 | 0.0010965
|  | 100 | Bi-210 | 1 | 0.1094 | 0.001822 |  | 305 | 2.03 | 0.22755 |  | 0.55571 | 0.0036987 | 0.0004146 | 0.1822 |  | 1.4165e-07 | 3.6945e-07 | 3.6088e-07
|  | 100 | Po-210 | 1 | 0.1093 | 0.02876 |  | 305 | 2.03 | 0.22734 |  | 8.7718 | 0.058383 | 0.0065384 | 2.876 |  | 2.236e-06 | 5.8317e-06 | 5.6913e-06
|  | 100 | Hg-206 | 1.9e-08 | 2.078e-09 | 659 |  | 305 | 3.857e-08 | 4.3222e-09 |  | 200995 | 2.5418e-05 | 2.8484e-06 | 65900 |  | 0.051234 | 2.5389e-09 | 2.4793e-09
|  | 100 | Tl-206 | 1.34e-06 | 1.465e-07 | 0.509 |  | 305 | 2.7202e-06 | 3.0472e-07 |  | 155.245 | 1.3846e-06 | 1.551e-07 | 50.9 |  | 3.9572e-05 | 1.383e-10 | 1.3501e-10
Detector Specs for the CFs

## Multiple Radionuclides
Ac-227 | Worker PRG (pCi/g) TR= 1E-04 | Field Activity Concentration (FAC) (pCi/g) | Chain | FC for SE | UAF for Peak | CF (cpm/pCi) for 2x2, soil, infinite depth, and 1cm height | pCi of Parent Only TAC | pCi of Parent Only Include Progeny TAC | pCi of chain members at the SE TAC using FC | pCi of chain members at the Peak TAC using UAF | CPM of chain members at the Parent Only TAC using FC | CPM of chain members at the Parent Only Include Progeny TAC | CPM of chain members at the SE TAC using FC | CPM of chain members at the Peak TAC using UAF | FAC (pCi/g) using FC | FAC (pCi/g) using UAF | CPM of FAC using FC for SE | CPM of FAC Parent Only Include Progeny | CPM of FAC using UAF | f1 of chain members at the Parent Only TAC using FC | f1 of chain members at the Parent Only Include Progeny TAC | f1 of chain members at the SE TAC using FC | f1 of chain members at the Peak TAC using UAF | GDR for Parent Only CPM | GDR for Parent Only Include Progeny CPM | GDR for SE CPM | GDR for Peak CPM
Parent Only | 1030 | 100 | Ac-227 | 1 | 0.2713 | 0.4853 | 1030 | 1030 | 10.5 | 4.1238 | 499.859 | 499.859 | 5.0957 | 2.0013 | 100 | 27.13 | 48.53 | 48.53 | 13.1662 | 0.0094812 | 2.9129e-05 | 6.618e-05 | 0.00015842 | 12044.8404 | 333053.2517 | 1053.7528 | 128.0028
Peak | 15.2 | 100 | Th-227 | 0.9862 | 0.1644 | 742.5 |  | 1030 | 10.3551 | 2.4989 |  | 764775 | 7688.6618 | 1855.4184 | 98.62 | 16.44 | 73225.35 | 74250 | 12206.7 |  | 0.044566 | 0.099857 | 0.14687
SE | 10.5 | 100 | Fr-223 | 0.0138 | 0.003745 | 258.8 |  | 1030 | 0.1449 | 0.056924 |  | 266564 | 37.5001 | 14.7319 | 1.38 | 0.3745 | 357.144 | 25880 | 96.9206 |  | 0.015534 | 0.00048704 | 0.0011662
|  | 100 | Ra-223 | 1 | 0.09351 | 855.5 |  | 1030 | 10.5 | 1.4214 |  | 881165 | 8982.75 | 1215.9666 | 100 | 9.351 | 85550 | 85550 | 7999.7805 |  | 0.051349 | 0.11666 | 0.096254
|  | 100 | At-219 | 8.28e-07 | 2.247e-07 | 0 |  | 1030 | 8.694e-06 | 3.4154e-06 |  | 0 | 0 | 0 | 8.28e-05 | 2.247e-05 | 0 | 0 | 0 |  | 0 | 0 | 0
|  | 100 | Rn-219 | 1 | 0.09351 | 319.5 |  | 1030 | 10.5 | 1.4214 |  | 329085 | 3354.7501 | 454.122 | 100 | 9.351 | 31950.0008 | 31950 | 2987.6445 |  | 0.019177 | 0.04357 | 0.035948
|  | 100 | Bi-215 | 8.0316e-07 | 2.179e-07 | 1105 |  | 1030 | 8.4332e-06 | 3.3121e-06 |  | 1138150 | 0.0093187 | 0.0036598 | 8.0316e-05 | 2.179e-05 | 0.088749 | 110500 | 0.024078 |  | 0.066324 | 1.2103e-07 | 2.8971e-07
|  | 100 | Po-215 | 1 | 0.09351 | 0.7945 |  | 1030 | 10.5 | 1.4214 |  | 818.335 | 8.3422 | 1.1293 | 100 | 9.351 | 79.45 | 79.45 | 7.4294 |  | 4.7687e-05 | 0.00010835 | 8.9391e-05
|  | 100 | Pb-211 | 1 | 0.09334 | 233.7 |  | 1030 | 10.5 | 1.4188 |  | 240711 | 2453.85 | 331.5661 | 100 | 9.334 | 23370 | 23370 | 2181.3558 |  | 0.014027 | 0.03187 | 0.026246
|  | 100 | Bi-211 | 1 | 0.09333 | 248.9 |  | 1030 | 10.5 | 1.4186 |  | 256367 | 2613.45 | 353.0935 | 100 | 9.333 | 24890 | 24890 | 2322.9837 |  | 0.014939 | 0.033942 | 0.02795
|  | 100 | Po-211 | 0.00276 | 0.0002576 | 26.35 |  | 1030 | 0.02898 | 0.0039155 |  | 27140.5 | 0.76362 | 0.10317 | 0.276 | 0.02576 | 7.2726 | 2635 | 0.67878 |  | 0.0015816 | 9.9176e-06 | 8.1671e-06
|  | 100 | Tl-207 | 0.99724 | 0.09305 | 6.614 |  | 1030 | 10.471 | 1.4144 |  | 6812.42 | 69.2554 | 9.3546 | 99.7241 | 9.305 | 659.5751 | 661.4 | 61.5433 |  | 0.00039698 | 0.00089946 | 0.00074049
Ra-226 | PRG | 100 | Ra-226 | 1 | 0.112 | 50.7 | 305 | 305 | 2.03 | 0.23296 | 15463.5 | 15463.5 | 102.921 | 11.8111 | 100 | 11.2 | 5070 | 5070 | 567.84 | 0.99052 | 0.0030431 | 0.0069139 | 0.0068323
Parent Only | 305 | 100 | Rn-222 | 1 | 0.112 | 1.598 |  | 305 | 2.03 | 0.23296 |  | 487.39 | 3.2439 | 0.37227 | 100 | 11.2 | 159.8 | 159.8 | 17.8976 |  | 9.5915e-05 | 0.00021792 | 0.00021535
Peak | 2.08 | 100 | Po-218 | 1 | 0.112 | 0 |  | 305 | 2.03 | 0.23296 |  | 0 | 0 | 0 | 100 | 11.2 | 0 | 0 | 0 |  | 0 | 0 | 0
SE | 2.03 | 100 | At-218 | 0.0002 | 2.24e-05 | 0 |  | 305 | 0.000406 | 4.6592e-05 |  | 0 | 0 | 0 | 0.02 | 0.00224 | 0 | 0 | 0 |  | 0 | 0 | 0
|  | 100 | Rn-218 | 2e-07 | 2.24e-08 | 2.85 |  | 305 | 4.06e-07 | 4.6592e-08 |  | 869.25 | 1.1571e-06 | 1.3279e-07 | 2e-05 | 2.24e-06 | 5.7e-05 | 285 | 6.384e-06 |  | 0.00017106 | 7.7731e-11 | 7.6813e-11
|  | 100 | Pb-214 | 1 | 0.112 | 1352 |  | 305 | 2.03 | 0.23296 |  | 412360 | 2744.56 | 314.9619 | 100 | 11.2 | 135200 | 135200 | 15142.4 |  | 0.081149 | 0.18437 | 0.18219
|  | 100 | Bi-214 | 1 | 0.112 | 3520 |  | 305 | 2.03 | 0.23296 |  | 1073600 | 7145.6 | 820.0192 | 100 | 11.2 | 352000 | 352000 | 39424 |  | 0.21128 | 0.48002 | 0.47435
|  | 100 | Po-214 | 1 | 0.112 | 0.2465 |  | 305 | 2.03 | 0.23296 |  | 75.1825 | 0.50039 | 0.057425 | 100 | 11.2 | 24.65 | 24.65 | 2.7608 |  | 1.4795e-05 | 3.3615e-05 | 3.3218e-05
|  | 100 | Tl-210 | 0.00021 | 2.352e-05 | 7270 |  | 305 | 0.0004263 | 4.8922e-05 |  | 2217350 | 3.0992 | 0.35566 | 0.021 | 0.002352 | 152.67 | 727000 | 17.099 |  | 0.43636 | 0.0002082 | 0.00020574
|  | 100 | Pb-210 | 1 | 0.1094 | 5.536 |  | 305 | 2.03 | 0.22755 |  | 1688.48 | 11.2381 | 1.2597 | 100 | 10.94 | 553.6 | 553.6 | 60.5638 |  | 0.00033228 | 0.00075494 | 0.00072871
|  | 100 | Bi-210 | 1 | 0.1094 | 0.001822 |  | 305 | 2.03 | 0.22755 |  | 0.55571 | 0.0036987 | 0.0004146 | 100 | 10.94 | 0.1822 | 0.1822 | 0.019933 |  | 1.0936e-07 | 2.4847e-07 | 2.3983e-07
|  | 100 | Po-210 | 1 | 0.1093 | 0.02876 |  | 305 | 2.03 | 0.22734 |  | 8.7718 | 0.058383 | 0.0065384 | 100 | 10.93 | 2.876 | 2.876 | 0.31435 |  | 1.7262e-06 | 3.922e-06 | 3.7822e-06
|  | 100 | Hg-206 | 1.9e-08 | 2.078e-09 | 659 |  | 305 | 3.857e-08 | 4.3222e-09 |  | 200995 | 2.5418e-05 | 2.8484e-06 | 1.9e-06 | 2.078e-07 | 0.0012521 | 65900 | 0.00013694 |  | 0.039554 | 1.7075e-09 | 1.6477e-09
|  | 100 | Tl-206 | 1.34e-06 | 1.465e-07 | 0.509 |  | 305 | 2.7202e-06 | 3.0472e-07 |  | 155.245 | 1.3846e-06 | 1.551e-07 | 0.000134 | 1.465e-05 | 6.8206e-05 | 50.9 | 7.4569e-06 |  | 3.0551e-05 | 9.3012e-11 | 8.9721e-11
Detector Specs for the CFs